Subcontractor:  California Bleachers

Scopes:  Bleachers & Press Box

Project:  Tonopah Field Replacement

Date:  5/19/2026

Attendees:

|  | Print Name | Company | Role | Sign-In |
| --- | --- | --- | --- | --- |
| 1. | Jon Cox | CORE Construction | Project Manager |  |
| 2. | Keith LaRue | CORE Construction | Superintendent |  |
| 3. | Dawn | CORE Construction | Pre-Con Manager |  |
| 4. | Jairo | CORE Construction | Project Engineer |  |
| 5. | Avery Hacker | CORE Construction | Project Director |  |
| 6. | Derek Rosse | CORE Construction | General Super |  |
| 7. | Micheal De La Torre | Cali. Bleachers | Project Manager |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SCOPE

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

    - Excludes ticket booth

    - Only for supply. No Nevada contractor license

    - Excludes fencing and gate on the bottom sides

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes ADA ramp, handrail, and seating

    - Assumes 87ft bleacher height

      - Includes 343 total seats

    - Includes hardware

    - Includes design for slab for bleachers

      - Assume slab for bleachers, below frost line

      - Assume concrete going up for the ramp

      - Bleachers are tied to the press box

    - Includes anchor bolts

    - Assume 8 footings for press box

    - Includes exterior corrugated metal for press box

    - Assume one unit for the press box to be installed by crane

    - Press box roof is walkable with fencing around

    - Press box includes vinyl frame windows, partitions, vinyl-coated gypsum board, vinyl plank flooring on plywood, steel counter-top, fencing on the roof, grid ceiling, mini-split, and outlet receptacle

- Alternates

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

- Testing

SCHEDULE

- Project Milestones

  - NTP

  - Early Start for this scope:

  - Other milestones relating to this scope

  - Substantial Completion

- Material Procurement

| Material | Submittals/Shops | Lead Time | Fabrication | Notes |
| --- | --- | --- | --- | --- |

- Durations

| Activity | Crew Size | Duration | Manhours | Notes |
| --- | --- | --- | --- | --- |

SAFETY

- CORE PPE Requirements

- DAHA

- Safety manual and SDS manuals on site

- Logistical challenges

  - Site Logistics Plan

  - Staging

- Project specific background checks

- Project specific safety requirements

ADMINISTRATIVE/CONTRACTING

- Template Subcontract

- Insurance

- Textura

- LCP Tracker

- 501c(3)

- Nevada 1st requirements

- Skilled and Trained Workforce Requirements

- Apprentice Utilization Requirements

HOMEWORK

- Confirm the press box finishes are per specs.

- Provide pricing to add fencing and a gate behind and to the sides of the bleachers.

- Provide footing detail for the press box.

- Confirm if the low-volt and power wire/conduit are included with the press box.