Subcontractor:  JW Electrical

Scopes: Electrical Systems

Project:  Tonopah Field Replacement

Date:  5/19/2026

Attendees:

|  | Print Name | Company | Role | Sign-In |
| --- | --- | --- | --- | --- |
| 1. | Jon Cox | CORE Construction | Project Manager |  |
| 2. | Keith LaRue | CORE Construction | Superintendent |  |
| 3. | Dawn | CORE Construction | Pre-Con Manager |  |
| 4. | Jairo | CORE Construction | Project Engineer |  |
| 5. | Avery Hacker | CORE Construction | Project Director |  |
| 6. | Derek Rosse | CORE Construction | General Super |  |
| 7. | Jeff Williams | JW Electric | Project Manager |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SCOPE

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

    - Clarify “New Speakers” and where to be installed.

    - Excludes spider boxes

    - Excludes fire alarm

    - Apprenticeship program is in effect for this project

      - 10% of total man-hours NEED to come from an apprentice

    - Does not include spoil haul off/storing

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes electrical and low voltage

    - Includes trenching

      - Assume hard dig

      - Assume drill rig for light poles (No final price from sub)

      - Assume 14’x6’ base for poles

      - Assume the conduit run to be out of the track

      - Includes trenching from concessions to the existing school

    - Includes equipment hook-up

    - Includes press box electrical and low voltage

    - Includes salvage and reinstall for AV equipment

      - Includes storage

    - Assume temporary power from the existing ticket booth.

      - Includes temporary lighting

    - Includes removal of feeders and fire alarm for school demo

    - Includes lighting control for concessions

    - Includes lighting controls for Muscko lights

    - Includes integration of owner-supplied cameras

    - Includes backboard for IT rooms

    - Includes coordination with Masonry for penetrations

    - Includes fire caulking (No fire-rated walls)

      - Assume sealing all penetrations

    - Includes prevailing wage and zone pay

    - Assume demo and removal of existing light poles

- Alternates

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

- Testing

SCHEDULE

- Project Milestones

  - NTP

  - Early Start for this scope:

  - Other milestones relating to this scope

  - Substantial Completion

- Material Procurement

| Material | Submittals/Shops | Lead Time | Fabrication | Notes |
| --- | --- | --- | --- | --- |

- Durations

| Activity | Crew Size | Duration | Manhours | Notes |
| --- | --- | --- | --- | --- |

SAFETY

- CORE PPE Requirements

- DAHA

- Safety manual and SDS manuals on site

- Logistical challenges

  - Site Logistics Plan

  - Staging

- Project specific background checks

- Project specific safety requirements

ADMINISTRATIVE/CONTRACTING

- Template Subcontract

- Insurance

- Textura

- LCP Tracker

- 501c(3)

- Nevada 1st requirements

- Skilled and Trained Workforce Requirements

- Apprentice Utilization Requirements

HOMEWORK

- Provide cost for spider boxes temporary power.