Subcontractor:  Jetstream Construction Inc

Scopes:  Metal Stud Framing, Drywall and Paint

Project:  Tonopah Field Replacement

Date:  5/19/2026

Attendees:

|  | Print Name | Company | Role | Sign-In |
| --- | --- | --- | --- | --- |
| 1. | Jon Cox | CORE Construction | Project Manager |  |
| 2. | Keith LaRue | CORE Construction | Superintendent |  |
| 3. | Dawn | CORE Construction | Pre-Con Manager |  |
| 4. | Jairo | CORE Construction | Project Engineer |  |
| 5. | Avery Hacker | CORE Construction | Project Director |  |
| 6. | Derek Rosse | CORE Construction | General Super |  |
| 7. | David Traster | Jetstream | Estimator |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SCOPE

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

    - Excludes footings for alternates

    - Excludes air barrier

    - Excludes exterior caulking

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes soffit framing at exterior

    - Includes rigid insulation at exterior walls per RFI response

    - Includes backing

    - Assumed fluid barrier per 6-02 A4.10

    - Assume R38 roof insulation

    - Included acoustical ceiling, FRP, and hardlid.

      - Assume exterior ceiling for restroom vestibule.

    - Includes painting conduit, HMD, and interior seals

    - Assume gypbaord to deck with sound caulking

    - Includes “A” walls to be insulated

    - Includes framing for access panels

    - Assumes level 4 drywall orange peel finish

      - CORE to clarify finish “Splater texture.”

    - Includes markerboards

    - Includes second coat of paint

    - Includes prevailing wage and zone pay

- Alternates

  - Ticket booth, press box, and bleacher install only

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

- Testing

SCHEDULE

- Project Milestones

  - NTP

  - Early Start for this scope:

  - Other milestones relating to this scope

  - Substantial Completion

- Material Procurement

| Material | Submittals/Shops | Lead Time | Fabrication | Notes |
| --- | --- | --- | --- | --- |

- Durations

| Activity | Crew Size | Duration | Manhours | Notes |
| --- | --- | --- | --- | --- |

SAFETY

- CORE PPE Requirements

- DAHA

- Safety manual and SDS manuals on site

- Logistical challenges

  - Site Logistics Plan

  - Staging

- Project specific background checks

- Project specific safety requirements

ADMINISTRATIVE/CONTRACTING

- Template Subcontract

- Insurance

- Textura

- LCP Tracker

- 501c(3)

- Nevada 1st requirements

- Skilled and Trained Workforce Requirements

- Apprentice Utilization Requirements

HOMEWORK

- Provide cost for foil face scrim cover sheet with screw-on pins

- Provide cost for fluid-applied barrier at exterior walls

- Provide a solution for the exterior ceiling at the restroom vestibule

  - Smooth ceiling with dense glass and concrete.

- Provide pricing for insulated walls at the office, family restrooms, and gang restroom.

- Provide pricing for lockers supply and install.