Subcontractor:  The Monument Company

Scopes:  Site Demo, Earthwork, Wet Utilities, Track Surface, Synthetic Turf,

Project:  NCSD Tonopah HS Sports Field Replacement

Date:  5/14/26

Attendees:

|  | Print Name | Company | Role | Sign-In |
| --- | --- | --- | --- | --- |
| 1. | Jon Cox | CORE Construction | Project Manager |  |
| 2. | Keith LaRue | CORE Construction | Superintendent |  |
| 3. | Dawn | CORE Construction | Pre-Con Manager |  |
| 4. | Jairo | CORE Construction | Project Engineer |  |
| 5. | Avery Hacker | CORE Construction | Project Director |  |
| 6. | Derek Rosse | CORE Construction | General Super |  |
| 7. | Jon Wayne | The Monument Co. | Owner |  |
| 8. | Micheal Wells | The Monument Co. | Project Manager |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SCOPE

Site Demo/Earthwork:

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

    - Excludes demo of other campus

    - Excludes abatement

    - Excludes caliche hard dig

    - Excludes rip rap at sweals

    - Excludes paving at the parking lot and street

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes demo of the field and surrounding areas

    - Includes pricing for dumping haul off

    - Assume stand tank for a longer time

    - Assume minimal SWPPP, includes plan

    - Includes spray dust palliated

    - Assume cap of utilities by others

    - Includes sweal

- Alternates

  - Building concrete pad included in the masonry package

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

Wet Utilities:

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes raising manholes 9 and 10

    - Includes 8” perf pipe

- Alternates

  - Slot drain is in the concrete package

  - Assumes 6” base under turf in turf package

  - Geo-liner and sand in turf package

  - Drain basin included in concrete package

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

Running Track Surface:

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes paving at the track and half moon

    - Sprinturf as 2nd tier sub for surfacing

    - Track doctor 2nd tier sub for striping

- Alternates

  - Base for running track: 4” asphalt over 6” base included in concrete package

  - Field equipment included in

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

Synthetic Turf:

- Review the Scope Narrative and subcontractors proposal

- Specific or Unique scope

  - Scope holes from past experience on this type of project

  - Inclusions or assumptions to cover grey areas in the scope

    - Includes geo-fabric, base, filter, and turf.

    - Includes field striping by Sprinturf

- Alternates

  - Curb is included in the concrete package

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

SCHEDULE

- Project Milestones

  - NTP

  - Early Start for this scope:

  - Other milestones relating to this scope

  - Substantial Completion

- Material Procurement

| Material | Submittals/Shops | Lead Time | Fabrication | Notes |
| --- | --- | --- | --- | --- |

- Durations

| Activity | Crew Size | Duration | Manhours | Notes |
| --- | --- | --- | --- | --- |

SAFETY

- CORE PPE Requirements

- DAHA

- Safety manual and SDS manuals on site

- Logistical challenges

  - Site Logistics Plan

  - Staging

- Project specific background checks

- Project specific safety requirements

ADMINISTRATIVE/CONTRACTING

- Template Subcontract

- Insurance

- Textura

  - Included

- LCP Tracker

- 501c(3)

- Nevada 1st requirements

- Skilled and Trained Workforce Requirements

- Apprentice Utilization Requirements

HOMEWORK

- Provide the quantity of haul off

- Provide cost for paving the access road 2” asphalt over 4” of base

- Provide pavement section for running surface (Oil and mix size)

- Confirm foundation digging for bleachers and lights

- CORE to confirm the wage rate to be the Nye County and Zone rate