Subcontractor:  NDX

Scopes:  Wet Utilities

Project:  NCSD Tonopah HS Field Replacement

Date:  5/14/2026

Attendees:

|  | Print Name | Company | Role | Sign-In |
| --- | --- | --- | --- | --- |
| 1. | Jon Cox | CORE Construction | Project Manager |  |
| 2. | Keith LaRue | CORE Construction | Superintendent |  |
| 3. | Dawn Duranleau | CORE Construction | Pre-Con Manager |  |
| 4. | Jairo Gomez | CORE Construction | Project Engineer |  |
| 5. | Avery Hacker | CORE Construction | Project Director |  |
| 6. | Derek Rosse | CORE Construction | General Super |  |
| 7. | Daryl Hanks | NDX | Estimator |  |
| 8. | Gio | NDX | Estimator |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SCOPE

- Review the Scope Narrative and subcontractors proposal

  - Exclusions or clarifications to the scope

    - Excludes underground conduit demo

    - Excludes dust permit

    - Excludes trenching for footings

    - Excludes backfill for trenching

  - Deviations from specifications

  - Deviations from plans or details

- Specific or Unique scope

  - 8” perf pipe included

  - Caliche at storm drain and sewer system

  - Demo of existing utilities at existing concessions and backflow preventor. Not included in grading scope.

  - Adjust existing MH 9 and 10 to be at grade

  - Includes sanitary tank demo

  - Includes Nye County and zone pay rates

  - Includes shoring

- Alternates

  - Inline catch basin (6)

  - Radius 4” perf pipe at sand pits (Half moons)

  - ACO slot drain system 3000

- Value Engineering

- Mock Ups

- Weather Protection

- Hoisting

- Permits

- Testing

SCHEDULE

- Project Milestones

  - NTP

  - Early Start for this scope:

  - Other milestones relating to this scope

  - Substantial Completion

- Material Procurement

| Material | Submittals/Shops | Lead Time | Fabrication | Notes |
| --- | --- | --- | --- | --- |

- Durations

| Activity | Crew Size | Duration | Manhours | Notes |
| --- | --- | --- | --- | --- |

SAFETY

- CORE PPE Requirements

- DAHA

- Safety manual and SDS manuals on site

- Logistical challenges

  - Site Logistics Plan

  - Staging

- Project specific background checks

- Project specific safety requirements

ADMINISTRATIVE/CONTRACTING

- Template Subcontract

- Insurance

- Textura

- LCP Tracker

- 501c(3)

- Nevada 1st requirements

- Skilled and Trained Workforce Requirements

- Apprentice Utilization Requirements

HOMEWORK

- Price for onsite spoils